{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["应急抢修单","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":1,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"应急抢修单","index":0,"n_rows":27,"n_cols":6,"rows_kept":27,"cut":false,"hidden":false,"merged":[[12,0,14,6],[26,0,31,6],[0,0,0,6],[1,0,1,6],[2,1,2,3],[2,5,2,6],[3,5,3,6],[3,0,3,1],[3,2,3,3],[5,0,8,6],[4,0,4,3],[4,4,4,6],[9,0,11,6],[24,0,25,6],[20,0,23,6],[18,0,19,6],[15,0,17,6]]}
[]
["应急抢修单"]
["单位：","{{company}}",null,null,"编号：","{{number}}"]
["检修工作负责人(监护人)：",null,"{{chargeName}}",null,"班组：","{{repairTeam}}"]
["操作开始时间：{{startTime}}",null,null,null,"操作结束时间：{{endTime}}"]
["抢修班人员（不包括抢修工作负责人）：\n\n\n\n\n                                                                 共{{repairPersonnelSum}}人"]
[]
[]
[]
["抢修任务（抢修地点和抢修内容）：\n{{repairTask}}\n"]
[]
[]
["安全措施：\n{{safetyMeasures}}\n"]
[]
[]
["抢修地点保留带电部分或注意事项：\n{{pointsAttention}}\n"]
[]
[]
["上诉各项内容由抢修工作负责人{{chargeName}}根据抢修任务布置人{{originatorName}}的布置填写。"]
[]
["经现场勘查需补充下列安全措施：\n{{licensorMeasures}}\n\n\n\n经许可人（调度/运行人员）{{licensorName}}同意{{licensorTime}}后，已执行。\n"]
[]
[]
[]
["许可抢修时间：{{licensorTime}}\n\n许可人（调度运行人员）：{{licensorName}}\n"]
[]
["抢修结束汇报：\n本抢修工作于{{implementEndTime}}结束\n现场设备状况及保留安全措施：\n{{reserveMeasures}}\n\n\n抢修班人员已全部撤离，材料工具已清理完毕，事故应急抢修单已终结。\n抢修工作负责人：{{chargeName}}许可人（调度/运行人员）：{{licensorName}}\n填写时间：{{fillTime}}"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}